Energy Interconnection and Energy Transition

In MENA regional

Located at the geographical intersection of Asia, Europe and Africa, the MENA region is rich in fossil and clean energy and has the advantage of becoming a global energy hub. At present, most countries in this region mainly rely on natural gas and oil-powered electricity for their power supply, while the electrification rate on the consumption side is low. At present, the energy side accounts for about 55% of carbon emissions in the region. Energy transformation has become the core content and means of the path of economic, social and environmental sustainable development in the MENA region.

I. Current situation of Energy Interconnection in the MENA region

In the MENA region, six power grids in the Gulf (Kuwait, Bahrain, Qatar, UAE, Oman, Saudi Arabia) and eight power grids in West Asia (Turkey, Iraq, Syria, Lebanon, Jordan, Palestine, Egypt, Libya) have been realized and planned. After the Arab Electricity Ministers meeting renamed "three continents interconnection grid"), North Africa Maghreb grid (Morocco, Algeria, Tunisia) three sub-regional power markets. At present, the three sub-regional power grids are in their own operating states, and the League of Arab States (LAS) proposes to promote the interconnection of sub-regional power grids to achieve "pan-Arab unified power market" (PAEM).

1.1 Interconnection in six Gulf countries

The interconnection	of the six countries of the Gulf Cooperation Council (GCC) has been implemented in three stages. The first phase, covering the northern part of the Gulf States and connecting Kuwait, Saudi Arabia and Qatar, was completed in 2009. The second phase covers the southern region of the Gulf States and connects the power grids of the United Arab Emirates and Oman. The third phase, which connects the northern and southern power grids of the Gulf states, was completed in 2011.

1.2 Interconnecting across three continents

The eight-nation interconnection grid in West Asia and the "Three-continent Interconnection Grid" is a key area for optimizing the allocation of Asian-European-non-clean energy and realizing the interconnection of power grids. Among them, Jordan, Saudi Arabia and Egypt are hub countries. In addition to Syria and Egypt, Jordan plans to promote the implementation of electricity interconnection with Saudi Arabia, Palestine, Iraq and other neighboring countries.

The first power grid interconnection is the Jordan-Egypt double 400 kV / 300MW AC line, which is currently planned to upgrade its capacity. After reconstruction, the first stage will be upgraded to 1GW, and the second stage will be upgraded to 2 GW. After the upgrade is completed, Egypt will be able to send electricity to Syria and Iraq through Jordan. Second, the Jordan-Syria 400kV/30MW AC line was completed and put into operation in 2001, but it is also out of service like the Turkey-Syria and Turkey-Iraq lines.

Egypt, as the North African hub of the three-continent interconnection project, has completed its relevant planning. To the north, the Egypt-Jordan-Syria-Turkey 400kV AC transmission line has basically taken shape, and the Egypt-Cyprus-Greece offshore transmission project has entered the feasibility study stage. To the east, the Egypt-Saudi 500 kV /3 GW DC power transmission project is under construction. To the south. To the west, the Egypt-Libya 220 kV / 100MW AC transmission line, which is also expected to be upgraded.

1.3 Maghreb Interconnection

The Maghreb Interconnection Grid is the only sub-regional power grid in the Arab region that has achieved interconnection with the European power grid. At present, Morocco is connected to Spain through two 400 kV submarine cables with a total capacity of 80MW, and the third line is being promoted. Second, Morocco and Algeria are connected through two 400 kV double-circuit AC lines and two 220 kV lines, with a designed line capacity of 1 million kilowatts. Third, Algeria and Tunisia are interconnected through two 90 kV, one 220 kV, one 150 kV and one 400 kV AC lines. Fourth, Tunisia and Libya tried to connect in 2002, but failed to synchronize after the completion of the line due to technical reasons.

II. Pan Arab Electricity Market and neighboring energy interconnection planning goals

Vigorously promoting the development of renewable energy is the most practical way to achieve carbon reduction and sustainable economic and social development in the MENA region. At present, the MENA energy interconnection holds a core position in realizing the Asia-Europe-Africa trans-continental interconnection, as well as a large proportion of renewable energy connected to the grid and optimization of cross-border trans-continental allocation.

2.1 North Africa-Europe Energy interconnection

The European Union has established the CircumMediterranean Transmission Operators Alliance (Med-TSO) with 19 member states. At present, the North Africa-Europe connection is mainly divided into three corridors: First, the Western corridor, that is, the Morocco-Spain connection line (there are two lines, and the third one is being promoted). The second is the central corridor, the Tunisian-Italy link, which is under construction and will make Tunisia the second North African country to be connected to the European power grid. The third is the Eastern corridor, the Egypt-Cyprus-Greece interconnection line (the "Europe-Africa Energy Interconnection Project"), where the three countries have signed a memorandum of cooperation and related studies are being advanced.

2.2 North Africa-West Asia Energy interconnection

The Egyptian-Saudi Arabia interconnection project has been 60% completed and is expected to be completed and put into operation by 2025. After the project is completed and put into operation, it will realize the interconnection of North Africa and West Asia/Gulf, which will be a milestone for the construction of "pan-Arab unified electricity market".

2.3 North Africa-East Africa energy interconnection

The Egypt-Sudan interconnection project will be completed and put into operation in the first half of 2020. The 1,000-kilometer line, with a transmission capacity of 240,000 kilowatts, is an important part of the East Africa Power Corridor project jointly promoted by the African Electricity Utility Association (APUA), the Eastern African Power Pool (EAPP), the Southern African Power Pool (SAPP) and the International Renewable Energy Agency (IRENA).

2.4 West Asia-Europe Energy Interconnect

Iran is a hub for connecting West Asia with its neighboring regions. Iran is an important hub for the development and export of renewable energy in West Asia. Iran has interconnected power grids with eight neighboring countries, making it a key country in connecting power grids in West Asia, Central Asia and Europe. The Iranian government is actively promoting the interconnection of its power grid with regional power grids in Central Asia, Russia, the Gulf countries and Europe. The first key project is the Armenia-Georgia-Iran-Russia power grid interconnection project; Second, the Russia-Azerbaijan-Iran energy corridor project; Third, the Economic Cooperation Organization (ECO) grid interconnection project; And the fourth is the Iran-Oman/UAE grid interconnection project.

2.5 West Asia-Central Asia Energy interconnection

The Central Asia Power Grid Interconnection Project (CASA-1000) entered the implementation phase in February 2020 and is expected to be completed in 2025. The project's member countries include Tajikistan, Kyrgyzstan, Afghanistan and Pakistan.

2.6 West Asia-Gulf Energy Interconnection

2.6.1 Saudi-Iraq Interconnection Project

Saudi Arabia - Iraq interconnection and Saudi Arabia -Jordan interconnection are key projects to realize power grid interconnection between the eight West Asian countries and the six Gulf countries. Saudi Arabia and Iraq signed an agreement on the construction of power grid interconnection lines between the two countries. In addition, Iraq signed a cooperation agreement with the GCCIA in early 2020 and plans to form an interconnected power grid with the six Gulf states through Kuwait.

2.6.2 Saudi Arabia -Jordan Interconnection

The Jordan-Saudi Arabia Technical Committee adopted a feasibility study on the interconnection of power grids between the two countries in January 2019. According to the plan, after the Jordanian solar power plant project is connected to the grid in winter, the electricity generated during the day can cover Saudi Arabia energy consumption, and after sunset, the electricity is imported from Saudi Arabia, so as to achieve the best utilization of the power supply side of the two countries through power exchange.

2.6.3 Jordan-Iraq/Palestine Interconnection

The Jordan-Iraq Interconnection and the Jordan-Palestinian Interconnection project will accelerate the interconnection of the internal power grids of the eight West Asian countries and prepare for the interconnection of the power grids of the six Gulf countries. In the first phase of the Interconnection, a 300km-long high-voltage transmission line will be built. Jordan plans to increase electricity exports to the Palestine from 25,000 kilowatts to 80,000 kilowatts. The Palestinians hope to wean themselves off electricity imports from Israel by increasing exports from Jordan.

III. Building a global energy Interconnection is of great significance to achieving sustainable development in the world

At present, the world is faced with a series of major crisis challenges such as resource shortage, climate change, environmental pollution and energy poverty, which seriously threaten human survival and sustainable development. The root cause of the crisis is the massive consumption and heavy dependence on fossil energy. To overcome the crisis, we need to speed up the green and low-carbon energy transformation and establish a clean-led, electricity-centered, interconnected, intelligent and efficient energy system. This is the global energy Interconnection that we advocate. At present, the green energy transition has become a consensus of all countries, solar, wind and other renewable energy power generation competitiveness continues to improve, smart grid technology is mature, and conditions are ready to accelerate the construction of a global energy Interconnection.

IV. The MENA region has the prerequisites for accelerating energy transition

The MENA region has unique advantages in the development of Energy Interconnection and the promotion of Energy Transition. At present, great achievements have been made in the construction of power grid infrastructure and the development of interconnection. The MENA Energy Interconnection is expected to become the second mature regional power market in the world after the European power market. The MENA region is also one of the regions with the highest concentration of solar energy and wind energy in the world. Based on the concept of the MENA Energy Interconnection, the region should vigorously develop scenic renewable energy, further develop hydrogen energy, desalination, energy storage and other industries, accelerate large-scale development and efficient utilization of clean energy, and realize a comprehensive transformation of energy production and consumption in the region from traditional oil and gas to clean energy. And bring huge comprehensive benefits to the countries in the region:

First, promote energy transition. The MENA region is one of the regions with the most abundant clean energy resources such as solar and wind power in the world. Accelerating large-scale development and efficient utilization of clean energy will enable countries in the region to fully transform their energy production and consumption from traditional oil and gas to clean energy. Second, promote economic transformation. Located at the crossroads of Asia, Europe and Africa, the MENA region enjoys outstanding geographical advantages. Using the MENA Energy Interconnection as a platform to build a production center and trading hub of non-clean energy in Asia and Europe will change the high dependence of economic development on oil and gas resources and drive economic transformation through energy transformation. Third, we need to build a new pattern of energy security. Promoting cooperation in the development of clean energy among countries in the region will not only meet the energy demand for development, but also promote sharing and cooperation among countries in the field of clean energy, enhance political mutual trust and create a favorable geopolitical environment for interconnected development.

To seize the opportunity to accelerate the building of an Energy Interconnection in the MENA region

There is huge potential and opportunity for the development of a Global Energy Interconnection. Governments in the MENA region attach great importance to clean energy development and have formulated strategic plans and policies to encourage it, which are highly consistent with energy development plans and sustainable development strategies in the MENA region.

We advise that the overall approach to accelerate the building of an Energy Interconnection in MENA region is as follows: to attach equal importance to regional balance and export, and accelerate the development of large-scale solar power and wind power bases in the region; to strengthen domestic connectivity, promote cross-border connectivity projects, build connectivity channels between the Arab countries and Europe, sub-Saharan Africa and South Asia, and form a new pattern of energy development featuring close inter-regional connectivity, efficient cross-regional allocation, and multi-energy complementarity and mutual benefit. We need to focus on the following three areas:

First, to accelerate the development of large clean energy bases. Developing solar energy bases in the Arabian Peninsula and the Sahara Desert, and wind power bases on the east coast of the Arabian Peninsula and the southern coast of Oman to create a global "gold Treasury" of clean energy.

Second, to strengthen power grid construction and connectivity. To strengthen the construction and upgrading of backbone grids in various countries and increase the capacity of cross-border power exchange. Then to promote the construction of trans-regional and trans-continental power transmission corridors with East Africa, South Asia and Europe, so as to achieve clean energy development, export and complementarity.

Third, comprehensively consider the needs of green hydrogen development. To align the green hydrogen development strategies of Oman, Saudi Arabia and other countries, pay close attention to the development trend of green hydrogen-related technologies, industries and policies, carry out international cooperation in the development potential, market space and research and judgment of technological development, attach importance to the "development of the same origin and application of complementary" relationship between electricity and hydrogen, and promote the coordinated development of electricity and hydrogen.

Fourth, improve regional electric power cooperation mechanisms. Give full play to the organizing and coordinating role of the United Nations, the League of Arab States, the Gulf Cooperation Council and other institutions, encourage countries to formulate policies and regulations conducive to the development of the energy Interconnection, improve multilateral and bilateral cooperation mechanisms, guide relevant parties to strengthen cooperation, and participate in the construction of the MENA regional Energy Interconnection.

IEA Data Services